## Calculations
Only modify the coloured boxes
INPUT DATA
QTY | UNIT | COMMENT
6 | Flushes | Per person, per day
2 | People | In the house
4.5 | L | Largest toilet flush setting, based on manufacturer specification
365 | days per year | Assumes full occupancy all year
22730 | L | L: size of 1x rain water tank
3000 | $ | Cost per tank inclusive of all externalities (slab, plumbing, transport etc.)
7.5 | L/min | 12L per minute is what is used for a normal old fashioned shower head like the one in Townsville here.
2 | Showers | Per person per day
6 | minutes | Minimum average shower length per person
3 | Washing loads per week
146 | L | Per wash, according to manufacturer specification
13 | L | Sink size
2 | Loads of dishes per day
591 | mm | Decile 1 - worst case scenario so far of average rainfall in Townsville
1 | mm of rainfall per 1m square = 1L
25 | mm or L/m2 | Amount of water per week required per square meter of garden for crop growing.
5 | Length (m) | Of garden area
4 | Width (m) | Of garden area
4 | L | Water required per person per day for consumption
772000 | L | Water that is currently allocated by the Townsville City Council
SUMMARY – yearly water usage
Toilet | 19710 | Liters
Shower | 65700 | Liters
Laundry | 22776 | Liters
Kitchen sink | 9490 | Liters
Human consumption | 2920 | Liters of water required for drinking
Total usage: | 120596 | Liters
TANK QTY
1x Year | 6 | Tanks
Actual tank capacity | 136380 | Liters
COST OF TANKS
18000
ROOF AREA REQUIRED
230.7614 |  | Square meters, for a Decile 1 worst case scenario rainfall year.
GREY WATER
Shower | 65700 | L
Laundry | 22776 | L
Kitchen sink | 9490 | L
Total grey water | 97966 | L
% Grey water to total water | 81.23% | This is the amount of water that is not used in the toilet
BLACK WATER
Toilet | 19710 | L
% Black water to total water | 16.34% | This is the amount of the water that is black water (used only in the toilet)
GARDEN WATERING USING TANKS
Usually 25mm per week is quoted as the required amount of water to grow edible crops
1mm of water per m2 = 1L
25mm of water per m2 = 25L
Tank size | 22500 | L
Number of tanks | 1 | Tank
Garden length | 5 | m
Garden width | 4 | m
Garden area | 20 | Square meters
Water per week | 500 | L of water per week for the garden bed
Water per year | 26000 | L of water per year for the garden bed
Tanks required | 0.86538 | For nominated garden bed size

## Info
Version | Comment
1 | Initial version released 23-09-2020

## Weather data BOM
Monthly Climate Statistics for 'TOWNSVILLE AERO' [032040]
Created on [ 01 Jul 2020 14:51:28 GMT+00:00]
032040 TOWNSVILLE AERO
Commenced: 1940
Last Record: 2020
Latitude: 19.25 Degrees South
Longitude: 146.77 Degrees East
Elevation: 4 m
State: QLD
Statistic Element | January | February | March | April | May | June | July | August | September | October | November | December | Annual | Number of Years | Start Year | End Year
Mean maximum temperature (Degrees C) for years 1940 to 2020 | 31.5 | 31.2 | 30.8 | 29.7 | 27.7 | 25.6 | 25.2 | 26.1 | 27.8 | 29.5 | 30.8 | 31.6 | 29 | 80 | 1940 | 2020
Highest temperature (Degrees C) for years 1940 to 2020 | 44.3 | 42.7 | 37.6 | 35.8 | 32.2 | 32.2 | 31.6 | 33.3 | 36.5 | 37.1 | 41.7 | 42.1 | 44.3 | 80 | 1940 | 2020
Date of Highest temperature for years 1940 to 2020 | 07 Jan 1994 | 13 Feb 1969 | 15 Mar 1993 | 02 Apr 1988 | 01 May 1996 | 17 Jun 2002 | 14 Jul 1964 | 28 Aug 1964 | 15 Sep 2003 | 25 Oct 1958 | 27 Nov 2018 | 30 Dec 1984 | 07 Jan 1994 | N/A | 1940 | 2020
Lowest maximum temperature (Degrees C) for years 1940 to 2020 | 23.9 | 24.5 | 24.3 | 21.1 | 16.6 | 13.9 | 16.4 | 15.8 | 19 | 23.6 | 24.4 | 22.9 | 13.9 | 80 | 1940 | 2020
Date of Lowest maximum temperature for years 1940 to 2020 | 08 Jan 1966 | 02 Feb 1945 | 21 Mar 1974 | 30 Apr 1982 | 23 May 2020 | 21 Jun 2007 | 28 Jul 1979 | 06 Aug 1995 | 07 Sep 1975 | 16 Oct 2017 | 06 Nov 1956 | 06 Dec 1964 | 21 Jun 2007 | N/A | 1940 | 2020
Decile 1 maximum temperature (Degrees C) for years 1940 to 2020 | 29.1 | 28.9 | 28.8 | 27.8 | 25.6 | 23.1 | 23 | 24.1 | 26 | 27.7 | 29 | 29.6 |  | 78 | 1940 | 2020
Decile 9 maximum temperature (Degrees C) for years 1940 to 2020 | 33.6 | 33.3 | 32.6 | 31.5 | 29.6 | 27.8 | 27.1 | 28 | 29.7 | 31.3 | 32.4 | 33.4 |  | 78 | 1940 | 2020
Mean number of days >= 30 Degrees C for years 1940 to 2020 | 25.6 | 22.2 | 23.1 | 13.5 | 1.6 | 0.1 | 0.1 | 0.5 | 2.8 | 10.3 | 22 | 26.6 | 148.4 | 80 | 1940 | 2020
Mean number of days >= 35 Degrees C for years 1940 to 2020 | 0.8 | 0.8 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.2 | 0.7 | 0.8 | 3.7 | 80 | 1940 | 2020
Mean number of days >= 40 Degrees C for years 1940 to 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.1 | 0.2 | 80 | 1940 | 2020
Mean minimum temperature (Degrees C) for years 1940 to 2020 | 24.3 | 24.1 | 23 | 20.7 | 17.7 | 14.7 | 13.7 | 14.7 | 17.4 | 20.7 | 22.9 | 24.1 | 19.8 | 80 | 1940 | 2020
Lowest temperature (Degrees C) for years 1940 to 2020 | 18.7 | 17.9 | 16.7 | 10.9 | 6.2 | 4.4 | 3.5 | 1.1 | 7.7 | 8.2 | 14.1 | 17.9 | 1.1 | 80 | 1940 | 2020
Date of Lowest temperature for years 1940 to 2020 | 06 Jan 2001 | 16 Feb 1951 | 31 Mar 1953 | 14 Apr 1994 | 23 May 1957 | 20 Jun 1995 | 06 Jul 1984 | 09 Aug 1941 | 04 Sep 1985 | 03 Oct 1941 | 21 Nov 1986 | 05 Dec 1998 | 09 Aug 1941 | N/A | 1940 | 2020
Highest minimum temperature (Degrees C) for years 1940 to 2020 | 29 | 30.6 | 27.9 | 26.6 | 25.2 | 23 | 22.2 | 23.1 | 25.1 | 26.4 | 27.9 | 28.8 | 30.6 | 80 | 1940 | 2020
Date of Highest minimum temperature for years 1940 to 2020 | 22 Jan 1994 | 13 Feb 1969 | 15 Mar 2017 | 04 Apr 1995 | 05 May 1996 | 04 Jun 2007 | 19 Jul 2016 | 23 Aug 2010 | 30 Sep 1996 | 24 Oct 2005 | 24 Nov 1988 | 31 Dec 2001 | 13 Feb 1969 | N/A | 1940 | 2020
Decile 1 minimum temperature (Degrees C) for years 1940 to 2020 | 22.2 | 22.3 | 20.8 | 17.8 | 13.5 | 9.7 | 8.8 | 10.2 | 13.5 | 17.3 | 20.5 | 21.8 |  | 78 | 1940 | 2020
Decile 9 minimum temperature (Degrees C) for years 1940 to 2020 | 26.4 | 26 | 25 | 23.4 | 21.5 | 19 | 18.5 | 19.3 | 21.1 | 23.8 | 25.2 | 26.3 |  | 78 | 1940 | 2020
Mean number of days <= 2 Degrees C for years 1940 to 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 1940 | 2020
Mean number of days <= 0 Degrees C for years 1940 to 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 1940 | 2020
Mean daily ground minimum temperature Degrees C for years 1995 to 2016 | 23.2 | 23.1 | 21.6 | 19.2 | 15.6 | 13.2 | 11.4 | 12.4 | 15.9 | 19.3 | 21.7 | 23.1 | 18.3 | 21 | 1995 | 2016
Lowest ground temperature Degrees C for years 1995 to 2016 | 15.7 | 17.4 | 13.4 | 7.9 | 3.2 | 1.3 | 0.6 | 0.5 | 2.5 | 9.8 | 15.1 | 16.4 | 0.5 | 21 | 1995 | 2016
Date of Lowest ground temperature for years 1995 to 2016 | 06 Jan 2001 | 04 Feb 2011 | 31 Mar 2012 | 27 Apr 2015 | 27 May 2011 | 19 Jun 2011 | 23 Jul 2011 | 12 Aug 2012 | 11 Sep 2011 | 03 Oct 2011 | 14 Nov 2012 | 05 Dec 1998 | 12 Aug 2012 | N/A | 1995 | 2016
Mean number of days ground min. temp. <= -1 Degrees C for years 1995 to 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1995 | 2016
Mean rainfall (mm) for years 1940 to 2020 | 269.2 | 304.6 | 193.7 | 63.9 | 33.5 | 20.6 | 14.7 | 15.5 | 10.2 | 24.1 | 57.1 | 125.3 | 1136 | 79 | 1940 | 2020
Highest rainfall (mm) for years 1940 to 2020 | 1141.7 | 964 | 696.2 | 546.2 | 180.8 | 111.4 | 173.7 | 258.2 | 84.4 | 252.8 | 345.2 | 458 | 2399.8 | 80 | 1940 | 2020
Date of Highest rainfall for years 1940 to 2020 | 1953 | 2019 | 2011 | 2000 | 1977 | 2007 | 1950 | 1998 | 2010 | 1975 | 2000 | 1975 | 2000 | N/A | 1940 | 2020
Lowest rainfall (mm) for years 1940 to 2020 | 8.8 | 4.2 | 2 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0 | 397.6 | 80 | 1940 | 2020
Date of Lowest rainfall for years 1940 to 2020 | 1947 | 1983 | 2008 | 1947 | 2001 | 1968 | 2002 | 2018 | 2019 | 2002 | 1990 | 2001 | 2015 | N/A | 1940 | 2020
Decile 1 monthly rainfall (mm) for years 1940 to 2020 | 46.9 | 61.1 | 18.7 | 3 | 1.1 | 0.4 | 0.2 | 0 | 0 | 1.2 | 4.1 | 15.7 | 593.5 | 80 | 1940 | 2020
Decile 5 (median) monthly rainfall (mm) for years 1940 to 2020 | 205.4 | 242.3 | 147.4 | 27.1 | 19 | 9.6 | 2.8 | 3.8 | 2.2 | 13.4 | 29.1 | 77.5 | 1070.4 | 80 | 1940 | 2020
Decile 9 monthly rainfall (mm) for years 1940 to 2020 | 548.9 | 603.5 | 426.6 | 172.2 | 83.2 | 60.2 | 34 | 43.8 | 30.9 | 52.9 | 135.5 | 348.2 | 1769.4 | 80 | 1940 | 2020
Highest daily rainfall (mm) for years 1941 to 2020 | 548.8 | 317.6 | 366.5 | 271.6 | 120.8 | 93 | 89.8 | 134.2 | 64.6 | 89.4 | 132.8 | 206.8 | 548.8 | 80 | 1941 | 2020
Date of Highest daily rainfall for years 1941 to 2020 | 11 Jan 1998 | 01 Feb 1977 | 03 Mar 1946 | 04 Apr 2000 | 19 May 2017 | 06 Jun 1990 | 10 Jul 2012 | 30 Aug 1998 | 20 Sep 2010 | 14 Oct 1975 | 24 Nov 1950 | 31 Dec 2009 | 11 Jan 1998 | N/A | 1941 | 2020
Mean number of days of rain for years 1940 to 2020 | 14.6 | 15.4 | 12.8 | 7.8 | 5.9 | 4.2 | 3.1 | 2.6 | 2.4 | 4.8 | 7.2 | 9.7 | 90.5 | 80 | 1940 | 2020
Mean number of days of rain >= 1 mm for years 1941 to 2020 | 11.6 | 12.6 | 9.7 | 5.3 | 3.6 | 2.4 | 1.9 | 1.4 | 1.3 | 2.8 | 4.8 | 7.2 | 64.6 | 80 | 1941 | 2020
Mean number of days of rain >= 10 mm for years 1941 to 2020 | 5.9 | 6.4 | 4.1 | 1.5 | 0.9 | 0.5 | 0.4 | 0.4 | 0.3 | 0.6 | 1.5 | 3 | 25.5 | 80 | 1941 | 2020
Mean number of days of rain >= 25 mm for years 1941 to 2020 | 3.3 | 3.4 | 2.2 | 0.5 | 0.3 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.6 | 1.4 | 12.4 | 80 | 1941 | 2020
Mean daily wind run (km) for years 1996 to 2020 | 402 | 372 | 370 | 355 | 317 | 314 | 310 | 329 | 366 | 432 | 438 | 426 | 369 | 22 | 1996 | 2020
Maximum wind gust speed (km/h) for years 1940 to 2020 | 97 | 135 | 143 | 130 | 78 | 85 | 76 | 68 | 71 | 84 | 80 | 197 | 197 | 77 | 1940 | 2020
Date of Maximum wind gust speed for years 1940 to 2020 | 12 Jan 1989 | 03 Feb 2011 | 06 Mar 1956 | 03 Apr 2000 | 30 May 1957 | 11 Jun 1955 | 08 Jul 1987 | 18 Aug 1949 | 05 Sep 1950 | 30 Oct 1984 | 02 Nov 1984 | 24 Dec 1971 | 24 Dec 1971 | N/A | 1940 | 2020
Mean daily sunshine (hours) for years 1957 to 2016 | 8 | 7.4 | 7.5 | 7.9 | 7.5 | 7.8 | 8.4 | 9.1 | 9.6 | 9.8 | 9.5 | 9 | 8.5 | 58 | 1957 | 2016
Mean daily solar exposure (MJ/(m*m)) for years 1990 to 2020 | 23.6 | 22 | 21.3 | 19.3 | 16.5 | 15.5 | 16.7 | 19.5 | 23 | 25 | 25.7 | 25.3 | 21.1 | 30 | 1990 | 2020
Mean number of clear days for years 1940 to 2010 | 4.6 | 3.2 | 6.4 | 8.9 | 10.1 | 12.8 | 15.4 | 16.4 | 14.8 | 12.5 | 9.1 | 6.6 | 120.8 | 70 | 1940 | 2010
Mean number of cloudy days for years 1940 to 2010 | 14.2 | 14.5 | 12.6 | 9.6 | 10.1 | 7.4 | 6.3 | 4.7 | 3.2 | 3.7 | 5.9 | 8.9 | 101.1 | 70 | 1940 | 2010
Mean daily evaporation (mm) for years 1969 to 2019 | 8.1 | 7.2 | 7 | 6.5 | 5.5 | 4.9 | 5.2 | 6.1 | 7.5 | 8.8 | 9.1 | 9 | 7.1 | 46 | 1969 | 2019
Mean 9am temperature (Degrees C) for years 1940 to 2010 | 28.1 | 27.6 | 27.2 | 25.6 | 23 | 20.2 | 19.5 | 21.1 | 23.9 | 26.2 | 27.7 | 28.4 | 24.9 | 70 | 1940 | 2010
Mean 9am wet bulb temperature (Degrees C) for years 1940 to 2010 | 24.2 | 24.3 | 23.4 | 21.4 | 18.9 | 16.3 | 15.7 | 16.8 | 18.9 | 21 | 22.6 | 23.7 | 20.6 | 70 | 1940 | 2010
Mean 9am dew point temperature (Degrees C) for years 1940 to 2010 | 22.2 | 22.6 | 21.2 | 19 | 16 | 13 | 12.1 | 13.1 | 15 | 17.5 | 19.6 | 21.3 | 17.7 | 61 | 1940 | 2010
Mean 9am relative humidity (%) for years 1940 to 2010 | 71 | 75 | 71 | 68 | 66 | 65 | 65 | 63 | 60 | 60 | 63 | 66 | 66 | 61 | 1940 | 2010
Mean 9am cloud cover (okas) for years 1940 to 2010 | 5.4 | 5.7 | 4.6 | 3.9 | 4 | 3.4 | 3.1 | 3 | 3.2 | 3.9 | 4.4 | 4.7 | 4.1 | 70 | 1940 | 2010
Mean 9am wind speed (km/h) for years 1940 to 2010 | 10.9 | 9.7 | 10.2 | 10.7 | 8.8 | 8.3 | 7.9 | 10 | 13.7 | 15.7 | 15.1 | 13.5 | 11.2 | 70 | 1940 | 2010
Mean 3pm temperature (Degrees C) for years 1940 to 2010 | 30 | 29.8 | 29.5 | 28.2 | 26.3 | 24.4 | 23.8 | 24.6 | 26.2 | 27.9 | 29.2 | 30.1 | 27.5 | 70 | 1940 | 2010
Mean 3pm wet bulb temperature (Degrees C) for years 1940 to 2010 | 24.9 | 25.1 | 24.2 | 22.5 | 20.4 | 18.1 | 17.5 | 18.2 | 19.7 | 21.6 | 23.1 | 24.2 | 21.6 | 70 | 1940 | 2010
Mean 3pm dew point temperature (Degrees C) for years 1940 to 2010 | 22.4 | 22.8 | 21.4 | 19.3 | 16.4 | 13.1 | 12.2 | 13.3 | 15.2 | 17.6 | 19.7 | 21.3 | 17.9 | 61 | 1940 | 2010
Mean 3pm relative humidity (%) for years 1940 to 2010 | 65 | 67 | 63 | 60 | 56 | 52 | 51 | 52 | 53 | 55 | 58 | 60 | 58 | 61 | 1940 | 2010
Mean 3pm cloud cover (oktas) for years 1940 to 2010 | 4.7 | 5.2 | 4.7 | 4.3 | 4.1 | 3.5 | 3 | 2.6 | 2.3 | 2.4 | 3 | 3.8 | 3.6 | 70 | 1940 | 2010
Mean 3pm wind speed (km/h) for years 1940 to 2010 | 19.9 | 18.5 | 19.6 | 20.6 | 19.4 | 18.1 | 19.9 | 21.9 | 23.6 | 23.5 | 23.1 | 22.2 | 20.9 | 70 | 1940 | 2010

## Copyright
Copyright
1 | Public domain | Excel sheet calculator
2 | Other | BOM Data, refer to the bom.gov.au website for details.